## Pump #1
Date | Operator | Service Performed | Pressure at pump | Pressure at manifold | Notes | Pump Model
2014-03-02 | CKC | Oil change | 15 mTorr | 90 mTorr |  | Serial #
2014-03-24 | CKC | Oil change | 12 mTorr | 85 mTorr

## Pump #2
Date | Operator | Service Performed | Pressure at pump | Pressure at manifold | Notes | Pump Model | Welch 1405
2013-11-05 | Laksiri | Oil Change | 10 | 75 |  | Serial # | 22920
2014-01-27 | TFR | Oil Change | 0.5 | 65 | Off manifold, full system clean
2014-03-02 | TFR | Oil Change | 0.5 | 75
2014-04-17 | TFR | Oil Change | 2 | 55

## Pump #3
Date | Operator | Service Performed | Pressure at pump | Pressure at manifold | Notes | Pump Model | Fisher Maxima C
2012-10-18 | RJ | Oil change | 50 mtorr | 50 mtorr | flushed pumping mechanism, needs new oil filter | Serial # | FEJ07/10610
2012-11-13 | RJ | Oil change | 50 mtorr | 50 mtorr | N/A
2012-12-08 | RJ | Oil change | 50 mtorr | 50 mtorr | N/A | Maint Schedule: | Oil change every month
2013-01-15 | RJ | Oil change | 68-100 mtorr | 100 mtorr | Need new oil filter and/or gasket kit |  | Oil filter change when saturated
2013-03-11 | RJ | Oil change | 15 mtorr | 60 mtorr | Replaced oil filter |  | Fisher kit as needed (4 year cycle)
2013-04-10 | RJ | Oil change | 50 mtorr | 50 mtorr | procrastinating research proposal paper
2013-05-07 | RJ | Oil change | 35 mtorr | 35 mtorr | N/A
2013-08-06 | RJ | Oil change | 35 mtorr | 35 mtorr | N/A
2013-09-15 | RJ | Oil change | 40 mtorr | 50 mtorr | N/A
2013-10-10 | RJ | Oil change | 50 mtorr | 50 mtorr | N/A
2013-11-21 | RJ | Oil change | 50 mtorr | 50 mtorr
2013-12-20 | RJ | Oil change | 60 mtorr | 60 mtorr | Large volume of DMF in trap. Replaced oil immed.
2013-01-10 | RJ | Oil change | 60 mtorr | 60 mtorr
2013-02-24 | RJ | Oil change | 60 mtorr | 60 mtorr
2014-03-26 | RJ | Oil change | 55 mtorr | 60 mtorr
2014-04-23 | RJ | Oil change | 45 mtorr | 50 mtorr | Oil filter was partially saturated. Allowed to drain.
2014-06-19 | RJ | Oil Change | 50 mtorr | 50 mtorr | Low usage during may
2014-08-21 | RJ | Oil change | 100 mtorr | 100 mtorr | Low usage during july. Tubes may be going
2014-09-17 | RJ | Oil change | 100 mtorr | 100 mtorr
2014-11-15 | RJ | Oil change | 100 mtorr | 100 mtorr
2015-01-19 | RJ | Oil change | 100 mtorr | 100 mtorr
2015-03-05 | RJ | Oil change | 100 mtorr | 100 mtorr
2015-04-10 | RJ | Oil change | 100 mtorr | 100 mtorr
2015-06-22 | RJ | Oil change | 100 mtorr | 100 mtorr
2015-08-10 | RJ | Oil change | 100 mtorr | 100 mtorr | Final Change and pressure check. Service suggested.

## Pump #4
Date | Operator | Service Performed | Pressure at pump | Pressure at manifold | Notes | Pump Model
Serial #

## Pump #5
Date | Operator | Service Performed | Pressure at pump | Pressure at manifold | Notes | Pump Model
2011-01-21 | FBD | Oil change
2011-02-13 | FBD | Oil change |  | 60 mTorr
2011-04-14 | FBD | Oil change
2011-06-27 | FBD | Oil change
2011-07-05 | FBD | Oil change
2011-08-14 | FBD | Oil change
2011-10-11 | FBD | Oil change
2011-12-26 | FBD | Oil change
2012-03-12 | FBD | Oil change
2012-05-08 | FBD | Oil change
2012-06-21 | FBD | Oil change |  | 55 mTorr
2012-08-14 | FBD | Oil change
2012-12-28 | FBD | Oil change
2013-02-16 | FBD | Oil change |  | 65 mTorr
2013-03-21 | FBD | Oil change |  | 75 mTorr | after maintenance
2013-04-17 | FBD | Oil change
2013-04-23 | FBD | Oil change
2013-05-19 | FBD | Oil change
2013-06-19 | FBD | Oil change | 12 mTorr |  |  | Serial #
2013-07-22 | FBD | Oil change
2013-08-22 | FBD | Oil change
2013-09-18 | FBD | Oil change
2013-12-04 | FBD | Oil change
2013-12-10 | FBD | Oil change
2014-01-27 | CKC | Oil change |  |  | Wouldn’t hold a constant vacuum took to repair shop
2014-04-24 | CKC | Oil change | 16 mTorr | 90 mTorr | Began using this pump in late march/early april after received from repair shop.
2014-05-26 | CKC | Oil change | 8 mTorr | NA | pump gauge was sent away to be fixed
2014-06-29 | CKC | Oil change | NA | NA | pump gauge still waiting to be fixed

## Pump #6 (Edwards)
Date | Operator | Service Performed | Pressure at pump | Pressure at manifold | Notes | Pump Model | Edwards RV 12
2014-03-25 | RJ | Oil change | 2.95 x 10^-3 mbar | N/A | Oil colorless | Serial #
[6 empty] | Maint Schedule: | Oil change every 4-6 months
See manual for other requirements
Requires Edwards Ultra Grade 19 Oil